K-WASH VERIFICATION PROTOCOL TABLE

| DLI 1 : Number of counties that have an approved County Water and Sanitation Strategy and Investment Plan (CWSS&IP) |  |
| --- | --- |
| Formula | US $1,000,000 per county upon adoption of the CWSS&IP |
| Description | Disbursements will be made to the Counties when a County Water and sanitation Strategy and Investment plan (CWSS&IP) (as defined in Section 11 Definitions in the Program Operational Manual (POM)), and Implementation Roadmap are formally adopted and approved for implementation by the County Executive Committee (CEC). |
| Data source/ Agency | County Government, SDWS |
| Verification Entity | Externally hired IVA |
| Procedure | For each of the 19 counties, the IVA will carry out a desk-based review of: - the approved CWSS&IP and Implementation Roadmap to ensure it conforms to the template in Annex 4 of the POM - the official signed and stamped minutes of the CEC meeting at which the CWSS&IP and Implementation Roadmap were approved, adopted and publicly disclosed by the CEC - an official signed and stamped letter from the CECM responsible for water to the Principal Secretary for the SDWS confirming approval of the CWSS&IP and Implementation Roadmap. |
| DLI 2 : Number of households provided with access to improved water services |  |
| Formula | US $40 per household provided with access to an improved water service |
| Description | Disbursements will be made in proportion to the number of households gaining access to an improved water service (as defined in Section 11 Definitions in the POM) since the start of the Program, through: (i) improved water points constructed under new water schemes (as defined in Section 11 Definitions in the POM), built since the start of the Program; and (ii) improved water points newly constructed under existing water schemes, that have been expanded after the start of the Program (as defined in Section 11 Definitions in the POM). All new construction and expansion works to water schemes must be approved by SDWS as having met the following requirements: Design report completed (as per Annex x in the POM); a construction completion certificate exists for the scheme; Environmental and Social (E&S) statutory licences (NEMA EIA licence and WRA abstraction permit) exist for the scheme; and Land ownership confirmation (Title document or signed land agreement) exists for the land that the scheme is constructed on. If verification finds that less than 80% of results reported in a county for DLI 2 in any one program period and verification cycle are eligible, the county will not receive any disbursement for those results under DLI 2 in the current program period. However, the county may resubmit the results for verification in a subsequent Program period after resolving the eligibility issues. For a household to be eligible for disbursement under DLI 2, the household must have been without access to an improved water service prior to the beginning of the Program. Households in refugee camps and refugee host communities that are located in Garissa and Turkana counties, are not eligible for disbursement under DLI 2 |
| Data source/ Agency | County Government, SDWS |
| Verification Entity | IVA |
| Procedure | Verification of results will be through desk-based review of documents submitted by each county and water scheme, and physical verification visits. The IVA will carry out a desk-based review of: - 17 official signed and stamped letters, one from each of the 17 CECM Water, to the Principal Secretary for SDWS confirming that: - the households reported in the PRMR under DLI 2, were without access to an improved water service, prior to the beginning of the Program; - that the households have not been reported in the PRMR under DLI 2 in any previous Program period; - that households reported in the PRMR under DLI 2 are served by water schemes that meet the minimum design checklist (as defined in Section 11 in the POM) - A letter for each submitted water scheme under DLI 2, signed by both the Chairperson and Vice Chairperson of the water scheme, confirming that: - the households reported in the PRMR as gaining access to an improved water service from the scheme all meet the improved water service requirements (as defined in Section 11 in the POM) - the households reported in the PRMR as gaining access to an improved water service from the scheme, were without access to an improved water service (as defined in Section 11 in the POM), prior to the beginning of the Program - For each water scheme for which households are being reported in the PRMR as gaining access to an improved water service under DLI 2, the: - Design report (as per Annex x in the POM) and construction completion certificate for the scheme (as per Annex x in the POM) both signed off by the EBK approved professional engineer - Environmental and Social (E&S) statutory licences (NEMA EIA licence and WRA abstraction permit) for the scheme - Land ownership confirmation (Title document or signed land agreement) for the land that the scheme is constructed on - Water quality test certificates for each water scheme for which households are being reported in the PRMR as gaining access to an improved water service under DLI 2. - WSP service area map (drawn to scale) to determine number of households served within 500m (non-Arid Counties) / 1,000m (Arid Counties) The IVA will make physical visits to villages on a random basis to verify verbal data by physically sampling within in each water scheme including households served on an agreed sampling basis, defined under Section III Methodology below. In case a water point is locked, a verifier should (i) observe if any activities are happening, see if the area is wet, or the water tank has water; and (ii) ask people in the community to see if the water point is being used. The same protocol applies for an outage. DLI 2 and DLI 3 will be independently sampled, but samples may overlap. |
| DLI 3 : Number of sustainably functioning water schemes |  |
| Formula | US$5,000 per scheme per year verified as sustainably functioning |
| Description | Disbursements will be made against the number of water schemes that are verified as sustainable, meaning; (i) At least 90% of households must be served by the scheme with an improved water service (as defined in Section 11 in the POM); (ii) The water scheme, including all water points, is managed by one of the nine WASREB management models (as defined in Section 11 in the POM), (iii) the water scheme has an approved tariff system; (iv) The water scheme must have gradually improved O&M cost recovery (as defined in Section 11 in the POM); and (v) Leadership positions within the water service provider should not be more than two-thirds of the same gender. A water scheme is eligible for payment against DLI 3 in any year of the Program for a maximum of 4 years after verification Water schemes in refugee camps and refugee host communities that are located in Garissa and Turkana counties, are not eligible for disbursement under DLI 3 |
| Data source/ Agency | County Government, SDWS |
| Verification Entity | IVA |
| Procedure | Verification of results will be through desk-based review of documents submitted by each county and water scheme, and physical verification visits. The IVA will carry out a desk-based review of: - Official registration records from the County Water Department specifying which WASREB management model has been adopted by the water scheme, that the scheme is applying an approved tariff system (as defined in Section 11 Definitions in the POM) , and the names of the persons in leadership positions of the water scheme; - Water quality test certificates for the water scheme. - Up to date financial records for the water scheme showing all of the operational revenues and the operational expenses (as defined in Section 11 in the POM); - A signed delegated service provision contract with the County Water Department; and - An annual O&M report covering the most recent year, which follows the template in Annex 5 of the POM - Water project or water scheme service area map (drawn to scale) to determine number of households served within 500m for non-Arid and semi-arid Counties and 1,000m for Arid Counties - A letter for each submitted water scheme under DLI 3, signed by both the Chairperson and Vice Chairperson of the water scheme, confirming that: - At least 90% of households are served by the scheme with an improved water service (as defined in Section 11 in the POM) including certification from an accredited water testing laboratory, that the water supplied meets the National standards, dated within the last three months; - The water scheme, including all water points, is managed by one of the nine WASREB management models (as defined in Section 11 in the POM); - The water scheme has an approved tariff system; - The water scheme has gradually improved O&M cost recovery (as defined in Section 11 in the POM); and - Leadership positions within the water service provider or water operator are not more than two-thirds of the same gender. The IVA will make physical visits to villages will take place on a random basis to verify verbal data by sampling in each water scheme including households served on an agreed sampling basis, defined under Section III Methodology below. In case a water point is locked, a verifier should (i) observe if any activities are happening, see if the area is wet, or the water tank has water; and (ii) ask people in the community to see if the water point is being used. The same protocol applies for an outage. DLI 2 and DLI 3 will be independently sampled, but samples may overlap. |
| DLI 4 : Households provided with access to an improved sanitation facility (Number) |  |
| Formula | US$ 30 per household |
| Description | Disbursements will be made in proportion to the number of households that have gained access to a new improved sanitation facility or an upgraded improved sanitation facility (as defined in Section 11 in the POM). If verification finds that less than 80% of results reported in a county for DLI 4 in any one program period and verification cycle are eligible, the county will not receive any disbursement for those results under DLI 4 in the current program period. However, the county may resubmit the results for verification in a subsequent Program period after resolving the eligibility issues. For a household to be eligible for disbursement under DLI 4, the household must have been without access to an improved sanitation facility, prior to the beginning of the Program. Households in refugee camps and refugee host communities that are located in Garissa and Turkana counties, are not eligible for disbursement under DLI 4. |
| Data source/ Agency | County Government, MoH |
| Verification Entity | IVA |
| Procedure | Verification of results will be through physical visits to villages and physical inspection of household sanitation facilities, on an agreed sampling basis, defined under Section III Methodology below. Where a sanitation facility that existed prior to the Program period has been upgraded to an improved sanitation facility during the Program period, the IVA will inspect the upgraded component(s) to determine if they were built during the Program period, review any available dated receipts and records of works carried out, as well as ask one neighbouring household whether the upgrade was made during the Program period. DLI 4 and DLRs 5.1, 5.2 and 5.3 will be independently sampled, but samples may overlap. |
| DLI 5 : Number of villages achieving and sustaining community-wide sanitation (CWS) status |  |
| Formula | US$2,000 per village verified as achieving ODF status, US$ 24,600 per village verified as achieving CWS status and US$12,000 per village verified as sustaining CWS status |
| Description | Disbursements will be made in proportion to the number of villages that achieve the following DLRs: DLR 5.1 : Number of villages achieving ODF status (as defined in Section 11 in the POM). Disbursements will be made in proportion to the number of villages certified as achieving ODF status as per MoH ODF guidelines, since the start of the Program. A village is only eligible to receive payment under DLR 5.1 once during the Program. DLR 5.2: Number of villages achieving CWS status (as defined in Section 3 in the POM). Disbursements will be made in proportion to the number of villages certified as achieving CWS status, since the start of the Program. A village can receive payment under DLR 5.2 once during the Program DLR 5.3: Number of villages sustaining CWS status (as defined in Section 3 in the POM). Disbursements will be made in proportion to the number of villages certified as sustaining CWS status, since the start of the Program. A village is eligible to receive payment under DLR 5.3 in any year of the Program, starting from the subsequent year after verification of having achieved CWS status. Villages in refugee camps and refugee host communities that are located in Garissa and Turkana counties, are not eligible for any disbursement under DLI 5. |
| Data source/ Agency | County Government, MoH, MoE |
| Verification Entity | IVA |
| Procedure | Verification of results will be through desk-based review of documents submitted by each county, and physical verification visits. DLR 5.1: The IVA will carry out a desk-based review of the official GoK Village ODF Certification Report for each village reported under DLR 5.1 to conform due process has been followed. The IVA will make physical visits to villages on a random basis to verify compliance with ODF status on an agreed sampling basis, defined under Section III Methodology below. A representative sample of villages will be randomly selected from the list of villages submitted to the IVA from the GoK as having complied with ODF status. For selection of households within sampled villages, the IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check for achievement of ODF status. There will be physical inspection of all facilities in 100% of public ECDs and public primary schools and 100% of public healthcare facilities in targeted villages where such either institution type is present. The GoK is required to submit villages with institutions within each period verification round, proportional to institutional coverage for targeted villages per county. Proportions are drawn from data provided from NEMIS and the Ministry of Health and provided in the accompanying verification excel sheet. DLR 5.2: The IVA will determine that: 1. At least one of the components of CWS status was not met prior to the start of the Program. The IVA will check the official Govt. list of villages that are confirmed as already having achieved all components of CWS prior to the start of the Program. For villages that are not included in the official Govt. list, the IVA will physically check IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check that at least three of the following four requirements are met: (i) infrastructure appears to be recently constructed since the start of the Program, (ii) invoices for works to achieve CWS dated within the Program period exist, (iii) photos of works within the Program period exist (iv) testimonies of neighbours confirming the works were carried out since the start of the Program. 2. The components of CWS status are now all met. The IVA will carry out a desk-based review of all reports and data relating to CWS maintained by the County including the official GoK Village ODF Certification Report for each village reported under DLR 5.2, as well as ESIAs for schools and healthcare facilities, where applicable in line with NEMA guidelines. The IVA will make physical visits to villages on a random basis to verify compliance with CWS status on an agreed sampling basis, defined under Section III Methodology below. A representative sample of villages will be randomly selected from the list of villages submitted to the IVA from the GoK as having complied with CWS status. For selection of households within sampled villages, the IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check for achievement of coverage of improved sanitation and handwashing facilities. There will be physical inspection of all facilities in 100% of public ECDs and public primary schools and 100% of public healthcare facilities in targeted villages where such either institution type is present. The GoK is required to submit villages with institutions within each period verification round, proportional to institutional coverage for targeted villages per county. Proportions are drawn from data provided from NEMIS and the Ministry of Health and provided in the accompanying verification excel sheet. DLR 5.3: The IVA will carry out a desk-based review of all reports and data relating to sustaining CWS maintained by the County including the official GoK Village ODF Certification Report for each village reported under DLR 5.3. The IVA will make physical visits to a representative sample of villages to verify compliance with sustaining CWS status, the sample is defined under Section III Methodology below. A representative sample of villages will be randomly selected from the list of villages submitted to the IVA from the GoK as having complied with sustained CWS status. For selection of households within sampled villages, the IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check for sustained coverage of improved sanitation and handwashing facilities. Physical inspection of all facilities in 100% of ECDs and public primary schools and 100% of public healthcare facilities in targeted villages where such either institution type is present. The GoK is required to submit villages with institutions within each period verification round, proportional to institutional coverage for targeted villages per county. Proportions are drawn from data provided from NEMIS and the Ministry of Health and provided in the accompanying verification excel sheet. A village may receive disbursement against DLI 5.3 in every year of the Program that the village sustains CWS status, starting one year after verification of the village as achieving CWS status for a maximum of 4 years. Villages located in refugee camps and refugee host communities that are within Garissa and Turkana counties, are not eligible for disbursement under DLI 5 DLI 4 and DLRs 5.1, 5.2 and 5.3 will be independently sampled, but samples may overlap. |
| DLI 6 : Number of WSPs compliant with the legal and regulatory requirements for good governance and have an approved PIAP |  |
| Formula | US$ 409,090 per WSP verified as achieving full compliance conditions |
| Description | Disbursements will be made to WSPs that have complied with all of the following requirements: - Have a valid water services provision license; - Have a gazette notice of WASREB approved justified tariff; - Have a fully constituted Board of Directors (BoD) as per WASREB regulations, with no more than two-thirds of the same gender on the BoD; - Have a Performance Contract (PC) between the WSP and the County Government with clear KPIs and conditions for ring-fencing autonomy of the WSP operations from negative external interference; and - Have a Performance Improvement Action Plan (PIAP) approved by the BoD which follows the template in Annex 7 of the POM. - The WSP’s most recent audited financial statements have been disclosed publicly. A WSPs will receive 70% of the total amount allocated for this DLI (US$286,363) upon the first verification of full compliance to the above requirements. The balance of the allocation will be disbursed to the WSP in equal portions spread across the subsequent three Program periods upon verification of maintenance of full compliance to the above requirements. |
| Data source/ Agency | County Government, SDWS, WASREB |
| Verification Entity | IVA |
| Procedure | The IVA will carry out a desk-based review of: - Official WASREB documentation confirming that each WSP reported under DLI 6 has a valid services provision licence, a gazette notice of WASREB approved justified tariff, and a fully constituted BoD as per WASREB regulations, with at not be more than two-thirds of the same gender on the BoD; - The PCs between the WSPs and the County Government (as per Annex 6 in POM); and - The WSP PIAPs to confirm that it follows the template in Annex 7 of the POM or an updated version of it as agreed with and approved by the World Bank, and that the targets of the KPIs (e.g. NRW, employees per connection, energy efficiency, connection ratio and billing ratio) are set realistically and according to the resources available for the WSP’ investments in efficiency. - World Bank concurrence of the PIAP. - Confirm that WSPs most recent audited financial statements have been disclosed publicly. |
| DLI 7 : Number of WSPs progressively achieving their Operating Cost Coverage Ratio (OCCR) targets as per their approved PIAPs |  |
| Formula | US$675,757 disbursement ceiling per WSP over the program period scalable to level of achievement |
| Description | Disbursements will be made to WSPs in proportion to their incremental achievement for the current year against the OCCR (as defined in Section 11 in the POM) target in their approved PIAP. The total amount allocated to this DLI will be equally divided between the 33 WSPs. A WSP is eligible for payment under DLI 7 in any Program period based on the disbursement formula (as defined in Section 11 in the POM), provided up to the ceiling of US$675,757 per WSP. |
| Data source/ Agency | County Government, SDWS, WASREB |
| Verification Entity | IVA |
| Procedure | The IVA will carry out a desk-based review of: - The WSPs’ financial records showing their operational costs and operational expenditures The IVA shall make physical visits to all of the WSPs to verify completed investments defined in the PIAPs. |
| DLI 8 : Amount of financing leveraged by WSPs from private/commercial financing sources |  |
| Formula | US$ 1 of the total bankable project cost for the investments in a WSP’s PIAP for every US$ 1 financed through one or more commercial financing agreements that the WSP has secured to finance the bankable project cost for the investments |
| Description | Disbursement will be made for each of the 33 WSPs that manages to secure commercial financing to fund the costs of investments (bankable projects) included in each WSP’s approved PIAP, that are intended to contribute to improvements in that WSP’s OCCR. DLI 8 provides matching interest free returnable funds for each qualifying WSP at US$ 1 of the total bankable project cost for the investments in their PIAP for every US$ 1 financed through one or more commercial financing agreements that the WSP has secured to finance the bankable project cost for the investments. Disbursement may not exceed 50% of the total bankable project cost for the investments in their PIAP. The blended financing will be available throughout the program period and a WSP can benefit more than once. |
| Data source/ Agency | County Government, SDWS, WSTF |
| Verification Entity | IVA |
| Procedure | The IVA shall carry out a desk-based review of: (i) WSP financial records including commercial financing agreements to verify the amount of commercial funding leveraged |
| DLI 9 : Water sector intergovernmental Planning, Coordination and Monitoring reforms implemented |  |
| DLI 9.1 : Approval and implementation of a Water Sector Performance-based Financing Mechanism (Yes/No) |  |
| Formula | $2,000,000 upon cabinet approval |
| Description | Disbursements against this sub-DLI will be triggered upon approval by the Cabinet of a National Water Sector Performance-based Financing Mechanism (as defined in Section 11 in the POM). Payment may only be made once under DLI 9.1 during the Program. |
| Data source/ Agency | SDWS |
| Verification Entity | IVA |
| Procedure | The IVA will verify the formal adoption and launch through desk-based review of: - Cabinet dispatch following the meeting that formally adopted the mechanism; and - An official letter to the Bank from the SDWS confirming launch of the mechanism |
| DLI 9.2 : Implementation of the Water Sector Inter-Governmental Coordination Framework including annual joint M&E reporting by both levels of government |  |
| Formula | US$500,000 annually upon launch of the Water sector M&E report and Joint sector coordination report |
| Description | Disbursement against this sub-DLI will be triggered for each year during the Program that the joint coordination framework secretariat publishes: - an Annual Water Sector Report aligned to the SDGs according to the template defined in Annex 9 of the POM. The report will include the progress towards implementation of NAWASIP, and annual intergovernmental coordination activities, and will be jointly published by the national government (MoWSI) and the CoG. Payment will be made each year during the Program period that DLI 9.2 is verified as achieved. |
| Data source/ Agency | SDWS, Council of Governors |
| Verification Entity | IVA |
| Procedure | The IVA will carry out a desk-based review of the Annual Water Sector report; to verify: - Report is aligned with SDG reporting. - Report includes reporting on NAWASIP implementation progress. - Report includes reporting on intergovernmental coordination activities for the year under review. - Evidence of join report approval and publishing |
| DLI 10 : Number of refugee and host community households in refugee-hosting Counties provided with improved access to WASH services (Text) |  |
| DLI 10.1 : Number of households in the refugee camps, and in the Host communities (50 percent each) provided with access to improved water services under the Program (Number) |  |
| Formula | US$61.11 per household |
| Description | Disbursements will be made in proportion to the number of Refugee households and Host community households (as defined in Section 11 Definitions in the POM) gaining access to an improved water service (as defined in Section 11 Definitions in the POM) since the start of the Program, through: (i) improved water points constructed under new water schemes (as defined in Section 11 Definitions in the POM), built since the start of the Program; and (ii) improved water points newly constructed under existing water schemes, that have been expanded after the start of the Program (as defined in Section 11 Definitions in the POM). All new construction and expansion works to water schemes must be approved by SDWS as having met the following requirements: Design report completed (as per Annex x in the POM); a construction completion certificate exists for the scheme; Environmental and Social (E&S) statutory licences (NEMA EIA licence and WRA abstraction permit) exist for the scheme; and Land ownership confirmation (Title document or signed land agreement) exists for the land that the scheme is constructed on. If verification finds that less than 80% of results reported in a county for DLI 10.1 in any one program period and verification cycle are eligible, the county will not receive any disbursement for those results under DLI 10.1 in the current program period. However, the county may resubmit the results for verification in a subsequent Program period after resolving the eligibility issues. For a household to be eligible for disbursement under DLI 10.1, the household must have been without access to an improved water service, prior to the beginning of the Program. Households not located in refugee camps and refugee host communities that are within Garissa and Turkana counties, are not eligible for disbursement under DLI 10.1 |
| Data source/ Agency | SDWS, DRS |
| Verification Entity | IVA |
| Procedure | Verification of results will be through desk-based review of documents submitted by each county and physical verification visits. The IVA will carry out a desk-based review of: - Official letter of concurrence on results reported for the refugee camps and immediate host communities (see Definitions) from the Commissioner of Refugee Affairs (CRA) to the County Government. - Official signed and stamped letters, one from each of the County CECM, Commissioner Refugee Affairs to the Principal Secretary for the SDWS confirming that: - the households reported (both refugee households and host-community households) in the PRMR under DLI 10.1, were without access to an improved water service, prior to the beginning of the Program; - that the households have not been reported in the PRMR under DLI 10.1 in any previous Program period; and - that households reported in the PRMR under DLI 10.1 are served by water schemes that meet the minimum design checklist (as defined in Section 11 in the POM) - A letter for each submitted water scheme under DLI 10.1, signed by both the Chairperson and Vice Chairperson of the water scheme, confirming that: - the households reported in the PRMR as gaining access to an improved water service from the scheme all meet the improved water service requirements (as defined in Section 11 in the POM) - the households reported in the PRMR as gaining access to an improved water service from the scheme, were without access to an improved water service (as defined in Section 11 in the POM), prior to the beginning of the Program - For each water scheme for which households are being reported in the PRMR as gaining access to an improved water service under DLI 10.1, the: - Design report (as per Annex x in the POM) and construction completion certificate for the scheme Both signed off by the EBK approved professional engineer - Environmental and Social (E&S) statutory licences (NEMA EIA licence and WRA abstraction permit) for the scheme - Land ownership confirmation (Title document or signed land agreement) for the land that the scheme is constructed on - The water quality certificates for each water scheme for which households are being reported in the PRMR as gaining access to an improved water service under DLI 10.1. - WSP service area map (drawn to scale) to determine number of households served within 500m for non-Arid Counties and semi-Arid Counties and 1,000m for Arid Counties The IVA will make physical visits to villages will take place on a random basis to verify verbal data by sampling in each water scheme including households served on an agreed sampling basis, defined under Section III Methodology below. In case a water point is locked, a verifier should (i) observe if any activities are happening, see if the area is wet, or the water tank has water; and (ii) ask people in the community to see if the water point is being used. The same protocol applies for an outage. DLI 10.1 and DLI 11 will be independently sampled, but samples may overlap. |
| DLI 10.2 : Number of households in the refugee camps, and in the Host communities, (50 percent each), provided with access to an improved sanitation facility (Number) |  |
| Formula | US$50 per household |
| Description | Disbursements to refugee hosting counties will be triggered scalable to the number of households in the refugee camps, and in the host communities. Disbursements will be made in proportion to the number of households that have gained access to a new or upgraded improved sanitation facility (as defined in Section 11 in the POM). If verification finds that less than 80% of results reported in a county for DLI 10.2 in any one program period and verification cycle are eligible, the county will not receive any disbursement for those results under DLI 10.2 in the current program period. However, the county may resubmit the results for verification in a subsequent Program period after resolving the eligibility issues. For a household to be eligible for disbursement under DLI 10.2, the household must have been without access to an improved sanitation facility, prior to the beginning of the Program. DLI 10.2 and DLI 12 will be independently sampled, but samples may overlap. |
| Data source/ Agency | SDWS, DRS |
| Verification Entity | IVA |
| Procedure | Verification of results will be through physical visits to villages and physical inspection of household sanitation facilities, on an agreed sampling basis, defined under Section III Methodology below. Where a sanitation facility that existed prior to the Program period has been upgraded to an improved sanitation facility during the Program period, the IVA will inspect the upgraded component(s) to determine if they were built during the Program period, review any available dated receipts and records of works carried out, as well as ask one neighbouring household whether the upgrade was made during the Program period. The verification of results for refugee camps will require a No Objection from DRS. |
| DLI 11: Number of sustainably functioning water schemes in refugee-hosting Counties |  |
| Formula | US$10,000 Per scheme |
| Description | Disbursements will be made against the number of water schemes that are verified as sustainable, meaning; (i) At least 90% of households that gained access under DLI 10.1 must be served by the scheme with an improved water service (as defined in Section 11); (ii) The water scheme, including all water points, must be managed by one of the nine WASREB management models (as defined in Section 11) in host communities and by a service provision model agreed between DRS (and UNHCR under DRS, and the County Government, as defined in the Transition roadmap to an Integrated Water Utility model, in refugee camps (iii) The water scheme has an approved tariff system; (iv) The water scheme must have gradually improved O&M cost recovery (as defined in Section 11 in the POM); and (v) Leadership positions within the water service provider should not be more than two-thirds of the same gender. Water schemes not located in refugee camps and refugee host communities that are within Garissa and Turkana Counties, are not eligible for disbursement under DLI 11. A water scheme is eligible for payment against DLI 11 in any year of the Program for a maximum of 4 years after verification. DLI 10.1 and DLI 11 will be independently sampled, but samples may overlap. |
| Data source/ Agency | SDWS, DRS |
| Verification Entity | IVA |
| Procedure | Verification of results will be through desk-based review of documents submitted by each county and water scheme, and physical verification visits. The IVA will carry out a desk-based review of: - Official registration records from the County Water Department specifying which WASREB management model/service provision model agreed between DRS, WASREB and the County Government has been adopted by the water scheme, that the scheme is applying a WASREB approved tariff, and the names of the persons in leadership positions with the water scheme; - Water quality test certificates for the scheme; - Up to date financial records for the water scheme showing all of the operational revenues, the operational expenses and the calculated OCCR (as defined in Section 11 in the POM); - A signed delegated service provision contract with the County Water Department; and - An annual O&M report covering the most recent year, which follows the template in Annex 5 of the POM - WSP service area map (draw to scale) to determine number of households served within 500m for non-Arid Counties and 1,000m for Arid Counties - A letter for each submitted water scheme under DLI 11, signed by both the Chairperson and Vice Chairperson of the water scheme, confirming that: - At least 90% of households are served by the scheme with an improved water service (as defined in Section 11 in the POM) including certification from an accredited water testing laboratory, that the water supplied meets the National standards, dated within the last three months; - The water scheme, including all water points, is managed by one of the nine WASREB management models (as defined in Section 11 in the POM), or a service provision model; - The water scheme has an approved tariff; - The water scheme has gradually improved O&M cost recovery (as defined in Section 11 in the POM); and - Leadership positions within the water service provider or water operator are not more than two-thirds of the same gender. The IVA will make physical visits to villages will take place on a random basis to verify verbal data by sampling in each water scheme including households served on an agreed sampling basis, defined under Section III Methodology below. In case a water point is locked, a verifier should (i) observe any activities are happening, see if the area is wet, or the water tank has water; and (ii) ask people in the community to see if the water point is being used. The same protocol applies for an outage. The verification of results for refugee camps will require a No Objection from DRS. |
| DLI 12 : Number of villages in the refugee camps, and in the Host communities certified as achieving and sustaining CWS status (Number) |  |
| Formula | $2,000 per village certified as ODF; $20,000 per village certified as achieving CWS status; $5,000 per village certified as sustaining CWS status |
| Description | Disbursements will be made in proportion to the number of villages that achieve the following 3 DLRs: DLR 12.1: Villages in the refugee camps, and in the Host communities achieving ODF status (as defined in Section 11 in the POM) – Disbursements will be made in proportion to the number of villages certified as achieving ODF status, since the start of the Program. DLR 12.2: Villages in the refugee camps, and in the Host communities achieving CWS status (as defined in Section 11 in the POM) - Disbursements will be made in proportion to the number of villages certified as achieving CWS status, since the start of the Program. DLR 12.3: Villages in the refugee camps, and in the Host communities sustaining CWS status (as defined in Section 11 in the POM) Disbursements will be made in proportion to the number of villages certified as sustaining CWS status, since the start of the Program. A village is only eligible to receive payment under DLR 12.1 and DLR 12.2 once during the Program. A village is eligible to receive payment under DLR 12.3 in any year during the Program, starting from the subsequent year after verification of having achieved CWS status. DLI 10.2 and DLI 12 will be independently sampled, but samples may overlap. |
| Data source/ Agency | SDWS,DRS |
| Verification Entity | IVA |
| Procedure | DLR 12.1: The IVA will carry out a desk-based review of all reports and data relating to CWS maintained by the County including the official GoK Village ODF Certification Report for each village reported under DLR 12.1. The IVA will make physical visits to villages on a random basis to verify compliance with CWS status on an agreed sampling basis, defined under Section III Methodology below. A representative sample of villages will be randomly selected from the list of villages submitted to the IVA from the GoK as having complied with ODF status. For selection of households within sampled villages, the IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check for achievement of ODF status There will be physical inspection of all facilities in 100% of public ECDs and public primary schools and 100% of public healthcare facilities in targeted villages where such either institution type is present. The GoK is required to submit villages with institutions within each period verification round, proportional to institutional coverage for targeted villages per county. Proportions are drawn from data provided from NEMIS and the Ministry of Health and provided in the accompanying verification excel sheet. DLR 12.2: The IVA will determine that: 1. At least one of the components of CWS status was not met prior to the start of the Program. The IVA will check the official Govt. list of villages that are confirmed as already having achieved all components of CWS prior to the start of the Program. For villages that are not included in the official Govt. list, the IVA will physically check IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check that at least three of the following four requirements are met: (i) infrastructure appears to be recently constructed since the start of the Program, (ii) invoices for works to achieve CWS dated within the Program period exist, (iii) photos of works within the Program period exist (iv) testimonies of neighbours confirming the works were carried out since the start of the Program. 2. The components of CWS status are now all met. The IVA will carry out a desk-based review of all reports and data relating to sustaining CWS maintained by the County including the official GoK Village ODF Certification Report for each village reported under DLR 12.3, as well as ESIAs for schools and healthcare facilities, where applicable in line with NEMA guidelines. The IVA will make physical visits to villages on a random basis to verify compliance with achieving CWS status on an agreed sampling basis, defined under Section III Methodology below. A representative sample of villages will be randomly selected from the list of villages submitted to the IVA from the GoK as having complied with CWS status. For selection of households within sampled villages, the IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check for achievement of improved sanitation and handwashing facilities. Physical inspection of all facilities in 100% of ECDs, public primary schools and 100% of public healthcare facilities in targeted villages where such either institution type is present.. The GoK is required to submit villages with institutions within each period verification round, proportional to institutional coverage for targeted villages per county. Proportions are drawn from data provided from NEMIS and the Ministry of Health and provided in the accompanying verification excel sheet. DLR 12.3: The IVA will carry out a desk-based review of all reports and data relating to sustaining CWS maintained by the County including the official GoK Village ODF Certification Report for each village reported under DLR 12.3. The IVA will make physical visits to villages on a random basis to verify compliance with sustaining CWS status on an agreed sampling basis, defined under Section III Methodology below. A representative sample of villages will be randomly selected from the list of villages submitted to the IVA from the GoK as having complied with sustained CWS status. For selection of households within sampled villages, the IVA will physically verify a representative sample using Lot Quality Assurance (LQA) methodology to check for achievement of sustained improved sanitation and handwashing facilities. Physical inspection of all facilities in 100% of ECDs, public primary schools and 100% of public healthcare facilities in targeted villages where such either institution type is present. The GoK is required to submit villages with institutions within each period verification round, proportional to institutional coverage for targeted villages per county. Proportions are drawn from data provided from NEMIS and the Ministry of Health and provided in the accompanying verification excel sheet. A village may receive disbursement against DLI 12.3 in every year of the Program that the village sustains CWS status, starting one year after verification of the village as achieving CWS status for a maximum of 4 years. County The verification of results for refugee camps will require a No Objection from DRS Villages not located in refugee camps and refugee host communities that are within Garissa and Turkana counties, are not eligible for disbursement under DLI 12 |

Table 24: Detailed definitions for K-WASH Operation

| DLI | Term | Definition |
| --- | --- | --- |
| I 1 | County Water Supply and Sanitation Strategy and Investment Plan (CWSS&IP) | The CWSS is a policy-level document containing an overarching framework to guide WSS sector investments and service delivery decisions at County level over a five-year period for achieving safe and sustainable water supply, sanitation and hygiene services for all citizens of the County. The CWSS&IP must include: (a) a diagnosis of the current WASH access situation, policy, legal, regulatory and institutional constraints and a scenario analysis of how the County can achieve universal access to WASH; (b) establishment of the institutional structure for water resources management and WASH service delivery in rural and urban areas of the County including definition of how the County will use different service provision models as per WASREB regulations/guidelines; (c) detailed investments the County intends to implement to achieve universal access to WASH based on the scenario analysis with details of locations, and budgets; (d) consideration of climate resilience and WASH+; and (d) a financing plan for the strategy |
| I 2. | Improved water service | An improved water service must meet all of the following criteria: - Typology - use one of the following water point typologies: - A metered connection to a piped water system at a household’s yard or house. - A yard tap shared by more than one household. - A water kiosk with a public tap or standpipe connection; and - A hand pump shared by more than one household. - Service radius – households served must be within 500m for non-Arid Counties and 1,000m for Arid Counties. - Flow rate - a water point must have a minimum flowrate of 0.16 litres per second. - Water quality: - Upon development of the water scheme, the water quality must be certified as fit for human consumption according to the Kenyan drinking water quality standards (Adopted from KS 05-459: Part 1:1996) issued by WASREB. For an existing water source that has been developed before the start of the Program, the water quality must be checked at the time of completion of rehabilitation/expansion of the water scheme. - Water supplied must be certified as fit for human consumption by an accredited water testing laboratory, according to the Kenyan drinking water quality standards (Adopted from KS 05-459: Part 1:1996) issued by WASREB dated within the last three months, based on one sample taken from the trunk main, and four samples at different points of distribution (kiosks and household connections). - The use of raw water sources with arsenic concentrations above the WHO potable water standard of 10µg/l is not permitted under the Program, regardless of any arsenic removal processes that are proposed. |
|  | Newly constructed water scheme | Any scheme where all 4 main elements (source intake, main pipeline, storage tank and pumping station (if pumping is required)) are built within the Program period. |
|  | Extended water scheme | Any scheme where one of the 4 main elements (source intake, main pipeline, storage tank and pumping station (if pumping is required), has been extended and new households are being served water by the extended scheme in a separate previously unserved area. Rehabilitation of the four main elements is permitted. |
|  | Household | Refers to 3.9 persons as per the latest population census in 2019 |
| DLI 3. | Improved water service | Defined as per ‘Improved water service’ under DLI 2 above |
|  | WASREB management model (Annex 19) | The water scheme, including all water points, must be managed by one of the following nine WASREB management model options: - Within the service provision area of a WSP - WSP takes over small water supply system. - WSP delegates community management of the water supply scheme by an existing regulated WSP which delegates some responsibilities to a community-based operator. - WSP delegates private management, where an existing regulated WSP contracts a Private Operator for management. - Outside service provision area of a WSP. - County Government establishes new rural WSP to undertake O&M of rural schemes; and - County Government/Rural WSP contracts private or NGO operator for O&M of rural schemes. - Rural WSP takes over small water supply system. - Rural WSP delegates some responsibilities to the SSSP/WUA. - Water Users Association becomes a WSP. (This cuts across both within and outside service provision area). - County |
|  | Approved tariff system | A tariff approved by WASREB for WSP and delegated providers as defined in the Small systems. The approved tariff for the scheme is the approved WSP tariff that a scheme shall adopt in one of the delegated management systems as provided in WASREB’s guidelines on rural and underserved areas. |
|  | Gradual O&M cost recovery | Gradual O&M cost recovery is defined as gradually increasing Operational Cost Coverage Ratios, as follows: - Year 1: 0.70 - Year 2: 0.80 - Year 3: 0.90 - Years 4, 5, 6 and 7: 1 The Operational Cost Coverage ratio is defined, in line with WASREB, as the WSP’s total operating revenues (the sum of billing for water, sewerage and other services) divided by the WSP’s total operating expenditures (the sum of expenses on personnel, BoD, General admin, direct operational expenditures, maintenance and levies and fees.) Direct operational expenditures include electricity, chemicals and fuel for vehicles. Levies and fees include water abstraction fees, WWDA fees, effluent discharge fees and regulatory levy. Billing for other services include charges on connection and reconnection, illegal connections, meter rent, meter testing, replacement of stolen meters and exhauster services. Operating Cost Coverage Ratio is applied at the water supply scheme level. |
|  | Leadership positions | Leadership positions include the following positions: - Chairperson - Vice chairperson - Managers |
|  | Water scheme | A ‘water scheme’ is one of the following: - All water points that are connected to the same water source through a piped distribution network - All non-networked water points in a village (e.g. hand pumps, kiosks) |
| DLI 4. | New improved sanitation facility | An improved sanitation facility at household level is defined as one of the following toilet types: - Flush and pour flush toilets or latrines connected to septic tanks or pits - Ventilated improved pit latrines - Pit latrines with slabs - Composting toilets including twin pit latrines - Fossa Alterna, - Dehydration Vaults, and - other technology for safely collecting, storing, and sometimes treating the products generated at the User Interface in a safe manner The facility must be constructed in the reporting period being verified. The facility must have: - an intact slab (washable or non-washable but can be easily cleaned) having no cracks or holes (other than drop hole) that exposes excreta, - a fitted lid (except for VIP, Flush and Pour Flush), - provided with walls that protect the user, - a door shutter (whether fixed or movable) that provides privacy and security to the user, and - no signs of leakage or spillage of faecal matter to the surroundings. - handwashing facility with water and soap or ash available next to the handwashing facility Households that share access to an improved sanitation facility belonging to another household are not eligible under DLI 4. |
|  | Upgraded improved sanitation facility | An upgraded improved sanitation facility is an unimproved sanitation facility that existed prior to the Program period and has been upgraded to an improved sanitation facility during the Program period. An upgraded improved sanitation facility at household level is defined as one of the following toilet types: - Flush and pour flush toilets or latrines connected to septic tanks or pits - Ventilated improved pit latrines - Pit latrines with slabs - Composting toilets including twin pit latrines - Fossa Alterna, - Dehydration Vaults, and - other technology for safely collecting, storing, and sometimes treating the products generated at the User Interface in a safe manner The facility must have: - an intact slab (washable or non-washable but can be easily cleaned) having no cracks or holes (other than drop hole) that exposes excreta, - a fitted lid (except for VIP, Flush and Pour Flush), - provided with walls that protect the user, - a door shutter (whether fixed or movable) that provides privacy and security to the user, and - no signs of leakage or spillage of faecal matter to the surroundings. - handwashing facility with water and soap or ash available next to the handwashing facility Households that share access to an improved sanitation facility belonging to another household are not eligible under DLI 4. One of the following three major components of the facility must have been entirely built during the Program period: - Containment structure - Superstructure (walls, roof and door) - Slab |
|  | Village/community | A group of households in a single settlement, or a single neighbourhood. |
| DLI 5. | ODF status | To achieveODF status, villages must achieve all of the GoK’s ‘ODF Plus’ six criteria: 1. no exposed human excreta within the community/households; 2. all households have access to a toilet (individual or shared); 3. the squat hole is covered; 4. the floor is free of faeces and urine; 5. there is a super structure that provides privacy; and 6. all households have a hand washing facility near the latrine with soap/ash and water. |
|  | Improved school WASH facilities | Improved WASH facilities in schools must include the following features: Enrolment students: at least one drop hole per 25 girls; each drop hole should have a hook and waste bin; and one drop hole and urinal per 30 for boys; and one drop hole each (for girls and boys) for students with special needs with ramp, handwashing facility, hand rails, and raised toilet seat. One MHH cubicle per 25 girls with a tap, a hook for a bag, a full-length mirror and a waste bin. [Kenya Standards & Guidelines for WASH Infrastructure in Pre-Primary & Primary Schools (2018) specifies ratios of 1 toilet for 25 girls and 1 toilet and a urinal for 30 boys.] Separate sanitation facilities for girls and boys and a segregated block of latrines for teachers. Latrines are kept clean and in good condition. The task of cleaning or maintaining sanitary facilities shared equally among girls and boys. At least one handwashing facility for every 25 pupils. [Kenya Standards & Guidelines for WASH Infrastructure in Pre-Primary & Primary Schools (2018) specifies 1 tap to every 25 students.] All latrines have: i) washable floors; ii) lockable doors to ensure privacy; iii) no leaks or faeces/ sludge overflowing the containment structure; iv) a connection to an inspection chamber and a septic tank, as well as a soak away or cess pit, which are in a good state of repair. Appoint a teacher as a designated and active menstrual counsellor. In schools without a female teacher an appropriate female parent or community health worker should be appointed to carry out this role. One Puberty book is available for Grade 6 and above. A burning chamber for menstrual pad disposal is available and functional. A rainwater harvesting system exists at the school. The County has: i) signed off that the design of sanitation, handwashing and rainwater harvesting adheres to the national standard design, ii) carried out regular supervision during construction (at least twice through construction period) and iii) signed off that the final construction is according to the signed off design (as per the national standard design). An ESIA exists for the facilities. |
|  | Improved HCF WASH facilities | Sanitation: Functional improved toilets (Washable floor, durable wall, fixed with lockable doors, and roof) for staff and clients; at least one stance for each sex and a stance for people with disabilities at main Outpatient Department (OPD); provision of ramp, hand rails, hand washing facility, and raised toilet seat in a toilet for people with disabilities; inspection chamber, septic tank and soak away or cess pit are provided and are at good state of repair; and facilities are clean and free from faeces. Hygiene: Liquid Soap or sanitizer is provided for at least one hand washing point; and water is available for hand washing for at least one hand washing point. Improved water in health centers is: Piped water supply to points of care (continuous supply of clean and safe water directly to various points of care within the health facility) An ESIA exists for the facilities |
|  | Public Health Facility | Refers to level 2 and level 3 health care facilities |
|  | Separate sanitation facilities | Separate facilities are defined as individual, or blocks of, latrines which are fully private (with no ability for persons outside to view the inside of the facility from ground level); having as a minimum separate entrance into each facility and full height partitions between adjacent facilities. A single building divided into male and female sections is acceptable as long as these privacy requirements are met. |
|  | Hand washing facility | A hand washing facility is defined as a container for washing hands in, with soap or a soap substitute (detergent or ash) and water available in close proximity to the container. There is no water quality requirement for hand washing. |
|  | Rainwater harvesting system | A rainwater harvesting system is defined as a system for collecting rainwater with guttering and pipework to a storage tank or tanks with a minimum storage capacity of 1,000 litres and a tap with soakaway below. |
|  | Safely disposed faecal waste | Safely disposed means that faecal waste that is disposed of in a way that limits: - human contact with untreated faecal waste; and - contamination of the environment by untreated faecal waste - odour |
| DLI 6. |  | These are the 33 Water Services providers (WSPs) established and operational in the 19 participating counties at the time of signing of the Financing Agreement. These are listed as follows: 1; Murang’a South Water and Sanitation Company. 2; Murang’a Water and Sanitation Company. 3; Gatanga Community Water Scheme. 4; Murang’a West Water and Sanitation Company. 5; Gatamathi Water and Sanitation Company. 6; Kirinyaga Water and Sanitation Company. 7; Rukanga Water and Sanitation Company. 8; Nithi Water and Sanitation Company. 9; Murugi Mugumango Water Society. 11; Kapenguria Water and Sanitation Company. 12; Chemususu Water and Sanitation Company. 13; Kirandich Water and Sanitation Company. 16; Nyasare Water Supply Assosciation. 17; Narok Water and Sewerage Company. 18; Bomet Water and Sewerage Company. 19; Kericho Water and Sewerage Company. 20; Amatsi Water Services Company. 21; Tachasis Water and Sanitation Company. 22; Kapsabet Nandi Water Services Company. 24; Wote Water and Sewerage Company. 25; Kibwezi Makindu Water and Sanitation Company. 26; Kitui Water and Sanitation Company. 27; Kiambere Mwingi Water and Sanitation Company. 28; Kwale Water and Sanitation Company. 14; Samburu Water and Sanitation. Company. 23; Mbooni Water and Sanitation Company. 10; Lodwar Water and Sanitation Company. 15; Migori Water and Sanitation Company. 29; Tana River Water and Sanitation Company. 30; Mandera Water and Sewerage Company Limited (MANDWASCO). 31; Elwak Water & Sewerage Company Ltd (ELWASCO). 32; Garissa Water and Sewerage Company. 33; Garissa Rural Water Service Corporation (GARUWASCO). |
|  | Performance contract | A performance contract will include at a minimum the following: - Ten WASREB KPIs: - Water Coverage, % - Drinking Water Quality - Hours of Supply, hrs/day - Non- Revenue Water, % - Metering Ratio, % - Staff Productivity, Staff per 1000 Connections - Personnel expenditure as % of O+M Costs - Revenue Collection Efficiency, % - O&M Cost Coverage, % - Pro-poor Services - At a minimum the following ring-fencing conditions for autonomy of WSP operations must be included in the performance contract: - Compliance with the Corporate Governance Guideline for the Water Services Sector - Compliance with regulations is included in the PC |
| DLI 7. | Operational Cost Coverage Ratio (OCCR) | The Operational Cost Coverage ratio is defined, in line with WASREB, as the WSP’s total operating revenues (the sum of billing for water, sewerage and other services) divided by the WSP’s total operating expenditures (the sum of expenses on personnel, BoD, General admin, direct operational expenditures, maintenance and levies and fees. Direct operational expenditures include electricity, chemicals and fuel for vehicles. Levies and fees include water abstraction fees, effluent discharge fees and regulatory levies. Billing for other services include charges on connection and reconnection, illegal connections, meter rent, meter testing, replacement of stolen meters and exhauster services. Operating Cost Ratio is applied at the WSP level. OCCR formulae for disbursement are shown in Annex x. |
| DLI 9. | National Water Sector Performance-based Financing Mechanism | A National Water Sector Performance-based Financing Mechanism is a document formally adopted by the Cabinet describing how funds will be transferred from the Ministry of Water, Sanitation and Irrigation to the County Governments conditioned on the Counties achieving specifically agreed results related to water supply and sanitation services. |
|  | Operationalization of the Water Sector Inter-Governmental Coordination Framework | The Water Sector Inter-Governmental Coordination Framework is a formally signed document between the CoG and SDWS to coordinate and harmonize development of norms, standards, policies, laws and sector priorities, initiate key actions and discussions on topical issues to enable effective coordination, integration, and implementation of water sector development agenda in Kenya. Operationalization of the Water Sector Inter-Governmental Coordination Framework means meeting the following criteria - Publication of an annual Water Sector M&E Report (Annual Water Sector Report) aligned to the SDGs according to the template in Annex 9; and - Publication of an annual Water Sector Coordination report. |
| DLI 10 | Refugee household | Households located within any official GoK recognized refugee camps in Garissa (Dadaab camp) and Turkana (Kakuma and Kalobeyei camps) Counties |
|  | Host community household | Households that are located in Garissa and Turkana Counties. |
| DLI 12 | Village in refugee camps | Village is equivalent to a block. Blocks are organized into sections |
|  | Immediate host community | Refers to the local communities that directly receive and accommodate refugees in their area. |

Annex X OCCR FORMULAE

The following shows the formulae that shall apply for the calculation of disbursements to WSPs based on their performance against achieving their OCCR targets.

This is based on the following:

1. WSPs are eligible for progressive partial disbursement across the Program periods up to a ceiling of US$ 675,757 per WSP.

2. Disbursements will be made to each WSPs based purely on the incremental change from the previous Year OCCR level. To reward effort of positive change. Where the change is zero (0) or negative, no disbursement will be made.

3. The actual disbursement per year is based on % of the real OCCR change out of the maximum possible change based on the PIAP Target.

STEP 1: Determine the Baseline OCCR for the WSP: Say for example 50% at the beginning of the Program for WSP X.

STEP 2: WSP sets its own Target for OCCR: Say Based on their detailed sound analysis in preparing their PIAP, the WSP X has set for themselves an OCRR target of 100% at the end of the Program period i.e., in six years’ time.

STEP 3: Calculate the maximum possible OCCR change this WSP will achieve during this performance period: For this example of WSP X, it is 100-50 = 50% change over the 6-year period.

STEP 4: The Independent Results Verification Agent (IVA) hired by MoWSI establishes the actual level of achievement for the Program year under Verification: E.g, At the end of Year 1 of the Program, WSP X manages to achieve an OCCR of 58% after implementing the prioritized investment in their PIAP during this year.

STEP 5: Calculate the real OCCR change for the year under verification: In this example of WSP X, this implies the actual/real OCCR change in year 1 is 58-50 = 8%

STEP 6: Normalize the real OCCR change against the maximum OCCR change the WSP can achieve over the entire program period: This represents 8/50 = 16% of the maximum OCCR change it can achieve during the entire program period. We need to normalize this change to the maximum OCCR change because there is a maximum/ceiling allocation for each WSP.

STEP 7: Calculate the amount of disbursement due to the WSP based on its performance for this Y1: Therefore, for the program year 1, this WSP will get a disbursement of 16% * 675,757 = US$ 108,121.

Continuing the example for WSP X for Year 2 of the Program from Step 4:

STEP 4: At the end of Year 2 of the Program, the WSP manages to improve its OCCR to 65% after implementing the prioritized investment in their PIAP.

STEP 5: This implies the actual/real OCCR change for this WSP in year 2 is 65-58 = 7%. Note. The change is now measure from the previous year OCCR level.

STEP 6: This represents 7/50 = 14% of the maximum OCCR change it can achieve during the entire program period.

STEP 7: Therefore, for the program year 2, this WSP will get a disbursement of 14% * 675,757 = US$ 94,606 At the end of the 6 program years, the full amount will have been disbursed to the WSP based on proportionate increments in OCCR performance annually.

Notice that if the WSP never fully meets its own OCCR target, it will not get the full ceiling of $675,757. It will only get an actual portion based on its performance.

The Arid Counties include: Baringo, Garissa, Mandera, Samburu, Tana River, Turkana. The semi-Arid Counties are: Kitui, Kwale, Machakos, Makueni, Tharaka Nithi, Narok, West Pokot. The non-Arid Counties are the remaining Counties under the Program

The Arid Counties include: Baringo, Garissa, Mandera, Samburu, Tana River, Turkana. The semi-Arid Counties include: Kitui, Kwale, Machakos, Makueni, Tharaka Nithi, Narok, West Pokot. The non-Arid Counties are the remaining Counties under the Program

Newly built or upgraded during the K-WASH Program period i.e. between February 29, 2024, to June 30, 2030.

If a licensed WSP does not achieve DLI-6 by the third year of the Program period, they will be ineligible for a disbursement under this DLI.

Audited financial statements older than 3 years will not be admissible.

The Arid Counties include: Baringo, Garissa, Mandera, Samburu, Tana River, Turkana. The semi-Arid Counties include: Kitui, Kwale, Machakos, Makueni, Tharaka Nithi, Narok, West Pokot. The non-Arid Counties are the remaining Counties under the Program

The Arid Counties include: Baringo, Garissa, Mandera, Samburu, Tana River, Turkana. The semi-Arid Counties include: Kitui, Kwale, Machakos, Makueni, Tharaka Nithi, Narok, West Pokot. The non-Arid Counties are the remaining Counties under the Program

The Arid Counties include: Baringo, Garissa, Mandera, Samburu, Tana River, Turkana. The semi-Arid Counties include: Kitui, Kwale, Machakos, Makueni, Tharaka Nithi, Narok, West Pokot. The non-Arid Counties are the remaining Counties under the Program